BEFORE THE MAHARASHTRA ELECTRICITY REGULATORY COMMISSION, MUMBAI

CASE NO. 195 OF 2025

IN THE MATTER OF;

Replies towards Data Gap raised by the Hon’ble Commission vide email dated 08.12.2025 in Case No. 195 of 2025 filed by Maharashtra State Power Generation Company Ltd for “Approval of Capital Cost, Determination of Final Tariff & Approval of Aggregate Revenue Requirement (ARR) for FY 2024-25, Provisional True Up of FY 2024-25 and Determination of Multi-Year Tariff (MYT) for the Control Period FY 2025-26 to FY 2029-30 of Unit 6 (1 x 660 MW) Of the Bhusawal Thermal Power Station.

Capital Cost and ARR & Tariff for Bhusawal Unit 6

- Capital Cost

Data Gap No. 1

- MSPGCL to submit the full copies of original DPR and revised DPR approved by its Board for Bhusawal Unit No. 6. Annexure -VI is not as stated.

MSPGCL’s Compliance:

The original DPR copy is attached as Annexure DG-I-1a. Also, BR for revised cost approval attached as Annexure DG-I-1b.

It is to clarify that the mention of “Annexure-VI” under the Annexure-6  in the main petition was with reference to the water requirement data , which is as per “Annexure-VI of original DPR”.

Data Gap No. 2

- MSPGCL shall submit the Statutory Auditor’s certificate for final capital cost of Bhusawal Unit 6 as on COD.

MSPGCL’s Compliance:

The Statutory Auditor’s certificate for final capital cost of Bhusawal Unit 6 as on COD was shared as Annexure- 2A with main petition. However, same is being shared as Annexure DG-I-2.

Data Gap No. 3

- MSPGCL to submit the copy of latest Lenders’ Engineer’s Report for Bhusawal Unit No. 6.

MSPGCL’s Compliance:

It is to submit that Lenders’ Engineers report is attached as Annexure DG-I-3.

Data Gap No. 4

- In the provisional Tariff Order (Case No. 236 of 2023), the Commission has limited the admissible overheads to 5% of the approved hard cost (excluding overheads), in line with the norms applied to other generating stations of similar unit sizes, namely, Koradi Units 8, 9 & 10; Chandrapur Units 8 & 9; Bhusawal Units 4 & 5 and Khaperkheda Unit 5. In the actual capital cost of Bhusawal unit 6, the amount of Rs.338.24 Crore included overheads which is 7.7% of the hard cost. MSPGCL shall submit the complete details of the Overheads.

MSPGCL’s Compliance:

| Particulars | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | TOTAL |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Employee Cost | 7.64 | 10.38 | 14.57 | 18.15 | 21.92 | 20.26 | 92.92 |
| Admin cost | 15.45 | 6.81 | 25.68 | 17.19 | 18.93 | 21.05 | 105.11 |
| Corporate Costs | 12.85 | 26.97 | 28.69 | 29.43 | 19.20 | 23.05 | 140.20 |
| Total Cost | 35.94 | 44.16 | 68.95 | 64.77 | 60.05 | 64.36 | 338.23 |

Data Gap No. 5

- MSPGCL has submitted that MSPGCL is required to earmark as one-time capital cost of Rs.18.20 Crore for CSR programme and subsequently shall incur recurring expenditure of Rs.3.64 Crore per annum till the life of the plant for CSR activities. Generally, CSR is not a capital expenditure for the purpose of tax deductions, as it is considered an application of income, not an expense incurred for the business itself. As per Companies Act, Companies are required to spend at least 2% of their average net profits from the previous three financial years on Corporate Social Responsibility (CSR) activities. If the company has not completed three financial years, the 2% spending rule applies to the average net profits of the preceding financial years. Therefore, MSPGCL shall justify as to how the CSR are proposed under Capital expenditure.

MSPGCL’s Compliance:

Ministry of Environment & Forest, (GoI) vide letter dtd. 27 November 2012 para no.(xxxi) directed MSPGCL to earmarked Rs.18.20 Crore for CSR programme and subsequently shall incur recurring expenditure of Rs.3.64 Crore per annum till the life of the plant for CSR activities. The corresponding letter is attached as Annexure DG-I-5.

Data Gap No. 6

- The Commission in its Order dated 1 August 2018 in Case No. 154 of 2018 has allowed proposed Bhusawal Unit No. 6 as replacement of retiring old and expensive units of 630 MW (Bhusawal Unit 2 & 3 and Nashik Unit 3). In this regard, MSPGCL shall submit factual details of the retirement of these Units.

MSPGCL’s Compliance:

It is to submit that in 2018, initially it was envisaged to retire Bhusawal Unit 2 & 3 and Nashik Unit 3 after COD of Bhusawal U#6. However, subsequently considering the actual plant conditions it was decided that instead of Nashik U#3 Nashik unit 5 will be considered for retirement against Bhusawal U#6.

In 2022, In view of the projected increase in demand the Central Electricity Authority has requested all generating companies to assess the possibility of keeping the old thermal stations in service till FY 2029-30 by making the necessary Renovation & Modernization.

Accordingly, MSPGCL has currently decided to operate these old units till 2030. MSPGCL had mentioned the same in MTR petition filed in 2022 and has reiterated it in the MYT petition filed in 2024. Thus, as of now Bhusawal U# 3 as well as all 3 units at Nashik TPS are in service.

Data Gap No. 7

- MSPGCL to submit copies of bid evaluation reports regarding the award of BTG and BoP packages for Bhusawal Unit No. 6.

MSPGCL’s Compliance:

The copies of bid evaluation reports regarding the award of BTG and BoP packages for Bhusawal Unit No. 6 was previously shared as Annexure 9 in main petition. The same is attached as Annexure DG-I-7 to these replies of Data gap Set I.

Data Gap No. 8

- MSPGCL to submit the copies of contracts executed for BTG and BoP packages for Bhusawal Unit No. 6.

MSPGCL’s Compliance:

The copies of contracts executed for BTG and BoP packages for Bhusawal Unit No. 6 is attached as Annexure DG-I-8 to these replies of Data gap Set I.

Data Gap No. 9

- MSPGCL should submit the cost of equipment and cost of spares separately in the format given

MSPGCL’s Compliance:

Table 1: Break up of capital cost

| S. No. | Particulars | Amount (Rs. Crore) |
| --- | --- | --- |
| 1 | Supply of Main Equipment (BTG+BOP) (excluding any spares) |  |
| A | Contract price (Supply) | 1740.517526 |
| B | Taxes and duties* | 247.3623971 |
| C | Applicable price variation on contract price | subject to ceiling of (+/-) 20% of contract price |
| 2 | Spares for Main equipment |  |
| A | Contract price (Supply) | 141.298244 |
| B | Taxes and duties* |  |
| C | Applicable price variation on contract price | subject to ceiling of (+/-) 20% of contract price |
| 3 | Supply of BOP equipment (excluding any spares) | Order placed with BTG & BOP is a single order. Separate break up is not available. |
| A | Contract price |  |
| B | Taxes and duties |  |
| C | Applicable price variation on contract price |  |
| 4 | Spares for BOP |  |
| A | Contract price |  |
| B | Taxes and duties |  |
| C | Applicable price variation on contract price |  |
| 5 | Erection, Testing and Commissioning |  |
| A | Contract price | 221 |
| B | Taxes and duties* | 27.3156 |
| C | Applicable price variation on contract price | subject to ceiling of (+/-) 20% of contract price |
| 6 | Civil Works |  |
| A | Contract price | 401.2708 |
| B | Taxes and duties* | 48.204 |
| C | Applicable price variation on contract price | subject to ceiling of (+/-) 20% of contract price |

*The amount of Taxes & Duties is as per the bid submitted by M/s BHEL and amendment on account of GST will be issued after verification by Finance Department of GoM.

Data Gap No. 10

- MSPGCL to submit the copies of Loan Agreements executed for debt financing of Bhusawal Unit No. 6.

MSPGCL’s Compliance:

The copies of Loan Agreements executed for debt financing of Bhusawal Unit No. 6 was previously shared as Annexure 13.1 to 13.3 in main petition. The same is attached as Annexure DG-I-10 to these replies of Data gap Set I.

Data Gap No. 11

- MSPGCL to submit the supporting documents for equity infused for the project.

MSPGCL’s Compliance:

The supporting documents for equity infused for the project are attached as Annexure- DG-I-11 to these replies of Data gap Set I.

Data Gap No. 12

- Please submit the supporting documents for the bills raised for supply of infirm power to MSEDCL and payments received from MSEDCL.

MSPGCL’s Compliance:

It is to submit that there are no bills raised for supply of infirm power to MSEDCL.

The procedure followed for infirm power billing for Bhusawal # 6 is as per relevant provisions under MERC MYT regulations, 2019 & MERC DSM Regulations, 2019 as detailed below.

As per the provision under regulation 44 of MERC MYT regulation 2019 and MERC (Deviation Settlement Mechanism and Related matters ) Regulations, 2019

The supply of Infirm Power shall be accounted as deviation and shall be paid at Charges for Deviation for Infirm Power in accordance with the Maharashtra Electricity Regulatory Commission (Deviation Settlement Mechanism and Related matters) Regulations, 2019:

The regulation 9(A)(9) of MERC (Deviation Settlement Mechanism and Related matters ) Regulations, 2019 provides,

The infirm power injected into the grid by a generating unit of a generating station during

testing, prior to COD of the unit shall be paid at Charges for Deviation for infirm power injected into the grid, consequent to testing, for a period not exceeding six months or the extended time allowed by the Commission in the Maharashtra Electricity Regulatory Commission (Transmission Open Access) Regulations, 2016 and Maharashtra Electricity Regulatory Commission (Distribution Open Access) Regulations, 2016, as amended from time to time, subject to ceiling of Cap Rates as determined by the Commission used for such injection are as specified below;

Infirm power generation for Bhusawal U#6 was done during 02 January 2025 till declaration of COD i.e.21.02.2025  24:00 hrs. Accordingly, MSLDC has considered the infirm injection as over injection for payment as per blockwise applicable DSM rate and included the same in the weekly DSM bills for MSPGCL for the week No.40 to Week No. 47 of FY 2024-25. The relevant DSM weekly invoices for week No.40 to Week No. 47 of FY 2024-25 were attached as Annexure 12. However, the same are attached as Annexure DG-I-12 to these replies of Data gap Set I.

The actual receipts for these amounts will be as per DSM Pool settlement  mechanism, as per overall payable / receivables for MSPGCL. Week-wise details for the DSM bills are as below

For Week Nos. 40, 41 & 44, there are DSM charges payable by MSPGCL , of which Week No. 40 & 44 DSM charges are already paid by MSPGCL and Week No. 41 charges are pending for payment as final invoice is yet not received from MSLDC. For the Weeks No.42,43,45,46,47, there are DSM receivables to MSPGCL but the same are yet not received due to DSM pool deficit position.

Data Gap No. 13

- MSPGCL has not submitted the computations of Base Case IDC. In this regard, MSPGCL to submit the phasing of expenditure under various heads, equity disbursement and loan drawl quarter wise and the IDC computations in workable excel sheet with appropriate formulae.

MSPGCL’s Compliance:

Will be submitted subsequently.

Data Gap No. 14

- MSPGCL has submitted the computations of actual IDC in Form 14.9. In this regard, MSPGCL is required to submit the phasing of expenditure under various heads, equity disbursement and loan drawl quarter wise and the IDC computations in workable excel sheet with appropriate formulae.

MSPGCL’s Compliance:

Will be submitted subsequently.

- MSPGCL has stated that the IDC capitalised as on CoD stands at Rs.1,122.03 crore, as certain assets, though financed through loan drawls, have not yet been capitalised. Consequently, this results in the variance between the IDC amount indicated in Form 14.9 and the actual IDC amount considered in the capitalisation as on CoD. MSPGCL is required to submit the actual expenditure under various heads, equity disbursement and loan drawl quarter wise and the IDC computations in workable excel sheet with appropriate formulae.

MSPGCL’s Compliance:

MSPGCL submits that, loan drawl till COD is Rs. 4,460.76 Crs and corresponding IDC as on date of COD is Rs.1203.43 Crs. Assets which were not completed as on date of COD includes like staff quarters, FGD-SCR and other common expenses  not allocated to CWIP assets. Therefore, interest corresponding to CWIP assets was not capitalized as on date of COD i.e. Rs.81.4 Crs. (around 6.76% of the 1203.43 Crs) and IDC capitalized as on COD is shown at Rs. 1122.03 Crs.

- MSPGCL may submit the computation of Excess IDC and overhead costs for time over-run from scheduled date of commissioning to actual date of commissioning on the basis of the delay in execution of a Generation Project in view of the Appellate Tribunal for Electricity (APTEL)’s Judgment dated 27 April, 2011 in Appeal No. 72 of 2010.

MSPGCL’s Compliance:

Will be submitted subsequently.

Data Gap No. 17

- MSPGCL shall submit the detail computations and supporting documents for actual interest rate in view of the Judgment of Hon’ble APTEL in Appeal No 34 of 2012.

MSPGCL’s Compliance:

The detail supporting documents for actual interest rate in view of the Judgment of Hon’ble APTEL in Appeal No 34 of 2012 was submitted in main petition as Annexure 13.4 to 13.18. The same are attached herewith as Annexure- DG-I-17 to these replies of Data gap Set I. The detailed computations (Excel working) will be submitted subsequently.

Data Gap No. 18

- MSPGCL has submitted the excel formats along with its Petition. Some of the formats have not been submitted with complete information. MSPGCL should submit the complete information in the formats shown below:

Table 2: Formats to be submitted with complete information

| S. No. | Format | Description | Remarks |
| --- | --- | --- | --- |
| 1 | Form 14.3 | Break-up of Capital Cost | Some of the cells are left blank. Complete details to be submitted. |
| 2 | Form 14.4 | Break up of Construction / Supply / Services / Package | Only BTG and BoP packages have been furnished. Complete package list to be furnished in the specified format. |

MSPGCL’s Compliance:

Will be submitted subsequently.

Data Gap No. 19

- Regulation 24.9 of MERC (MYT) Regulations 2019 provides that the revenue earned from sale of infirm power prior to the COD in excess of fuel cost as specified under Regulation 44, shall be adjusted against the Capital Cost. Regulation 44 of MERC MYT regulation 2019 states the following with respect to recovery of infirm power revenue:

“44 Sale of Infirm Power

The supply of Infirm Power shall be accounted as deviation and shall be paid at Charges for Deviation for Infirm Power in accordance with the Maharashtra Electricity Regulatory Commission (Deviation Settlement Mechanism and Related matters) Regulations, 2019:

Provided that any revenue earned by the Generating Company from supply of Infirm Power after accounting for the fuel cost shall be used for reduction in Capital Cost and shall not be treated as revenue.”

The provision is for adjustment of revenue. There is no provision for adjustment of the expenses. However, MSPGCL has proposed adjustment of 203.13 Crores against fuel expenses in the Capital Cost. MSPGCL has also proposed to allow recovery of Rs.79.48 Crore as revenue for compensative fuel. MSPGCL shall justify the proposal in terms of regulatory and legal provisions.

MSPGCL’s Compliance:

The capitalisation of fuel costs for the infirm power generation is done as per Accounting Policy adopted by MSPGCL. Specific relevant clauses from Accounting Policy are as extracted below

“C)	Material Accounting Policies

Following are the material accounting policies adopted in the preparation and presentation of these Ind As – Separate financial statements (also called standalone financial statements. These accounting policies have been consistently followed by the Company.

1.	Property, Plant and Equipment

i.	Freehold land is carried at cost. All other items of Property, Plant and Equipment are stated at cost, net of accumulated depreciation and accumulated impairment losses, if any.

ii.	The initial cost of an asset comprises its purchase price or construction cost (including import duties, freight and non-refundable taxes); any incidental costs directly attributable to bring the asset into the location and condition necessary for it to be capable of operating in the manner intended by management; and borrowing cost for qualifying assets (i.e. assets that necessarily take a substantial period of time to get ready for their intended use).

The purchase price is the aggregate amount paid and the fair value of any other consideration given to acquire the asset. The cost also includes trial run cost (after deducting the proceeds from selling any items produced during the trial run period) and other operating expenses such as freight, installation charges etc. net of other income during the construction period. The projects under construction are carried at costs comprising of direct costs, related pre-operational incidental expenses and attributable interest.

Subsequent expenditures are included in assets carrying amount or recognized as separate asset, as appropriate, only when it is probable that future economic benefits associated with the item will flow to the Company and the cost of the item can be measured reliably.”

----- {Emphasis added}

As detailed under reply to Data gaps point No. 12 , the revenue for sale of infirm power Rs. 79.48 Crs.is booked as per the weekly DSM invoices generated by MSLDC  for the Week No. 40 to 47 of FY 2024-25 . The unrecovered fuel cost for infirm power generation Rs. 203.13  Crs is capitalised as per Accounting Policy as stated above.

The rationale for computation of Rs. 203.13 Crs is as below

The MERC MYT Regulations , 2019 has following provisions in reference to Sale of Infirm power,

24.9 	The revenue earned from sale of infirm power prior to the COD in excess of fuel cost as specified under Regulation 44, shall be adjusted against the Capital Cost.

……

44 Sale of Infirm Power

The supply of Infirm Power shall be accounted as deviation and shall be paid at Charges for Deviation for Infirm Power in accordance with the Maharashtra Electricity Regulatory Commission (Deviation Settlement Mechanism and Related matters) Regulations, 2019: Provided that any revenue earned by the Generating Company from supply of Infirm Power after accounting for the fuel cost shall be used for reduction in Capital Cost and shall not be treated as revenue.

When the deviation charges for infirm power injection are computed under the prevailing DSM , they are worked out on block-to-block basis where the applicable DSM rate for a 15-minute time-block is dependent on the average frequency during the block and also there is capping of 342.5 paise per unit. The infirm power injection is done as per project commissioning trial activities and thus it is not necessarily in the blocks where applicable DSM rate is higher ( i.e. generally frequency lower than 50 Hz). Under such situation, it is obvious that revenue from sale of infirm power is significantly lower than the actual fuel cost incurred for the infirm power generation.

The two Regulatory provisions mentioned above imply that if the revenue from sale of infirm power is more than fuel cost for infirm power, the capital cost is to be reduced by the surplus income amount.  However, it also imply that when fuel cost is more than the revenue from sale of infirm power, the differential fuel cost will remain under capital cost, as it is submitted by MSPGCL in the present petition. Here, MSPGCL has booked excess fuel cost (Rs. 203.13 Crs.)  under the capital cost , after adjusting the infirm power revenue (Rs. 79.48 Crs.) from the total fuel cost incurred for infirm power generation (Rs. 282.61 Crs.) .

It is further clarified that MSPGCL has not proposed for any recovery of Rs. 79.48 Crs. again, when the same is getting recovered as DSM charges through DSM Pool Account Settlement.

- MSPGCL has submitted that as per the provisions of the contract for liquidated damages, MSPGCL has retained payments of M/s BHEL to the extent of Rs. 779.02 Crore as on COD of Bhusawal Unit 6 (1 X 660 MW) towards such extension in project completion schedule. However, finalisation shall be achieved after completing delay analysis along with final time limit extension and contract closure. MSPGCL shall submit the details of the retained amount against each head of the default.

MSPGCL’s Compliance:

Will be submitted subsequently.

- ARR & Tariff

Data Gap No. 21

- MSPGCL to submit the copies of Fuel Supply Agreement (FSA) executed for Bhusawal Unit No.6.

MSPGCL’s Compliance:

Will be submitted subsequently.

- MSPGCL shall submit the status of installation of the FGD System. MSPGCL shall justify as to whether the FGD System can be dropped at this stage in view of the Environment (Protection) Fourth Amendment Rules, 2025 notified on 11.07.2025. It is submitted that Bhusawal Unit 6 fall under Category C as categorized in the notification and Sulphur dioxide emission standards shall not be applicable to all Category C thermal power plants subject to ensuring compliance of stack height criteria.

MSPGCL’s Compliance:

Will be submitted subsequently.

- MSPGCL shall also clarify its position on the compliance of stack height criteria notified vide notification number GSR 742 (E), dated the 30th August 1990 and subsequent amendments if any.

MSPGCL’s Compliance:

The actual stack height of 275 mtrs is as per Environmental Clearance received for the project from Ministry of Environment & Forest , vide letter dated November 27, 2012 , attached as Annexure-DG-I-5.

- MSPGCL shall submit the details of requirement of additional capital investment for flexible operation as per CEA (Flexible Operation of Coal based Thermal Power Generating Units) Regulations, 2023.

MSPGCL’s Compliance:

Will be submitted subsequently.

- MSPGCL submitted that the old unit’s coal linkage would be transferred to its 660 MW unit of Bhusawal Unit No.  (1 x 660 MW). MSPGCL to submit the process to be followed for such transfer of linkage and current status of same.

MSPGCL’s Compliance:

Will be submitted subsequently.

- MSPGCL to submit the price and GCV of additional coal to be procured through MoU Route.

MSPGCL’s Compliance:

Will be submitted subsequently.

- MSPGCL to submit the existing source of water linkage for Bhuswal Unit # 6 along with the supporting documents.

MSPGCL’s Compliance:

Will be submitted subsequently.

- The water charges proposed for FY 2027-28, FY 2028-29 and FY 2029-30 are exorbitantly high. MSPGCL shall justify the exorbitantly high-water charges.

MSPGCL’s Compliance:

Will be submitted subsequently.

- MSPGCL shall submit a comparative statement for Bhusawal Unit No. 6 and other existing Units of 660 MW under MSPGCL.

MSPGCL’s Compliance:

Will be submitted subsequently.

- MSPGCL shall justify the proposal for inclusion of the electricity expenses incurred for pumping water from the source to the Bhusawal Unit 6 in the water charges.

MSPGCL’s Compliance:

Will be submitted subsequently.

Data Gap No. 31

- MSPGCL to submit the following set of design parameters for Bhusawal Unit # 6:

- Pressure Rating (kg/cm2),

- Super Heat Temperature/Re-Heat Temperature (0C)

- Maximum Turbine Cycle Heat Rate (kcal/kWh), as guaranteed by the supplier  &

- Type of Boiler feed pump.

- Supporting documents for the above guaranteed design parameters.

MSPGCL’s Compliance:

The copies of design parameters for Bhusawal Unit # 6 is attached as Annexure- DG-I-31 to these replies of Data gap Set I.

Data Gap No. 32

- MSPGCL to submit the statement of month wise GCV (as fired and as received separately) and landed price of coal from COD of Bhusawal Unit 6 till date.

MSPGCL’s Compliance:

Will be submitted subsequently.

Data Gap No. 33

- MSPGCL to submit the statement of month wise GCV and landed price of secondary fuel oil from COD of Bhusawal Unit 6 till date.

MSPGCL’s Compliance:

Will be submitted subsequently.

Data Gap No. 34

- MSPGCL to submit the supporting documents for the actual landed price of coal procured in the immediate preceding 3 months.

MSPGCL’s Compliance:

Will be submitted subsequently.

Data Gap No. 35

- MSPGCL to submit the supporting documents for the actual landed price of secondary fuel oil procured in the immediate preceding 3 months.

MSPGCL’s Compliance:

Will be submitted subsequently.